## Slide 1: SMART SENSORS
Presented by:
Shahid Maqbool LONE
(10303320181124510072)
Under guidance of:
Prof. Ankita Amburle

## Slide 2
INTRODUCTION
The advent of integrated circuits, which became possible because of the tremendous progress in semiconductor technology, resulted in the low cost microprocessor.
We can have integrated sensors which has electronics and the transduction element together on one silicon chip. This complete system can be called as system-on-chip.
The main aim of integrating the electronics and the sensor is to make an intelligent sensor, which can be called as smart sensor.
In this report the usefulness of silicon technology as a smart sensor, physical phenomena of conversion to electrical output using silicon sensors, characteristics of smart sensors. A general architecture of smart sensor is presented.

## Slide 3: What is a smart sensor?
Smart sensors are "sensors and instrument packages that are microprocessor driven and include features such as communication capability and on-board diagnostics that provide information to a monitoring system and/or operator to increase operational efficiency and reduce maintenance costs."

## Slide 4: General Architecture of Smart Sensor
Sensing element/transduction element,
Amplifier,
Sample and hold,
Analog multiplexer,
Analog to digital converter (ADC),
Offset and temperature compensation,
Digital to analog converter (DAC),
Memory,
Serial communication
Processor

## Slide 5: Types of Smart Sensors
Optical Sensor
Infrared detector array
Accelerometer
Integrated multisensor

## Slide 6: Optical Sensor
Optical sensor is one of the examples of smart sensor, which are used for measuring exposure in cameras, optical angle encoders and optical arrays. Similar examples are load cells silicon based pressure sensors.

## Slide 7: Infrared detector array
Integrated sensor is the infrared detector array developed at the solid laboratory of the University of Michigan.
The Infrared-sensing element was developed using polysilicon -Au thermocouples and thin film dielectric diaphragm to support the thermocouples.
On-chip multiplexer was fabricated by using silicon gate MOS processing.
This detector operates over a temperature range of 0 to 100 degree centigrade with a 10msec response time.

## Slide 8: Accelerometer
Accelerometer fabricated at the IBM Research laboratory at San Jose California, which consists of the sensing element and electronics on silicon.
The accelerometer itself is a metal-coated SiO2 cantilever beam that is fabricated on silicon chip where the capacitance between the beam and the substrate provides the output signal.

## Slide 9: Integrated multisensor
Integrated multisensor chip developed at the electronics research Laboratory University of California.
This chip contains MOS devices for signal conditioning with on chip sensor, a gas flow sensor, an infrared sensing array, a chemical reaction sensor, a cantilever beam, accelerometer, surface acoustic wave vapor sensor, a tactile sensor array and an infrared charge coupled device imager.
This chip was fabricated using conventional silicon planer processing, silicon micromachining and thin deposition techniques.

## Slide 10: Advantages
Minimum Interconnecting Cables
High Reliability
High Performance
Easy to Design, Use and Maintain
Scalable -Flexible System
Small Rugged Packaging
Minimum Cost

## Slide 11: Applications
Bluetooth Smart Sensor Module Rear Panel. In-chamber and on-wafer sensors.
Monitoring of Temperature Using Smart Sensors Based on CAN Architecture.
Compatible sensors with microprocessors. Smart sensors vie for vision applications: smart sensors can provide the functionality needed for simple, low-cost machine-vision applications.
A Smart Sensor Architecture for Marine Sensor Networks

## Slide 12: Conclusion
Smart Sensors has developed and proved a new miniaturized Smart Sensor Network Measurement System, which represents a paradigm shift from a centralized to a distributed processing measurement approach.
It significantly reduces the number and lengths of cables, the components size, and system weight. It provides greater flexibility in design, configuration and installation.
All of these advantages translate into cost savings throughout the life of a program.